## BaseData
ขนาดเสา (m) | รหัสหัวเสา | รายการวัสดุ | รหัสพัสดุ | จำนวน
12.2 | CTB บน | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
12.2 | CTB บน | HDPE (M-TECH) | 1020440008 | 1
12.2 | CTB บน | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
12.2 | CTB ล่าง | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
12.2 | CTB ล่าง | HDPE (M-TECH) | 1020440008 | 1
12.2 | CTB ล่าง | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
22 | CTB บน | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
22 | CTB บน | HDPE (M-TECH) | 1020440008 | 1
22 | CTB บน | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
22 | CTB บน | BOLT, MACHINE M16 x 350mm. | 1010110205 | -2
22 | CTB บน | BOLT, MACHINE M16 x 450mm. | 1010110207 | 2
22 | CTB ล่าง | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
22 | CTB ล่าง | HDPE (M-TECH) | 1020440008 | 1
22 | CTB ล่าง | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
22 | CTB ล่าง | BOLT, MACHINE M16 x 350mm. | 1010110205 | -2
22 | CTB ล่าง | BOLT, MACHINE M16 x 500mm. | 1010110208 | 2
12.2 | CTB ประกบบน | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
12.2 | CTB ประกบบน | HDPE (M-TECH) | 1020440008 | 2
12.2 | CTB ประกบบน | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 6
12.2 | CTB ประกบบน | LINK, CABLE SPACER | 1020440103 | 1
12.2 | CTB ประกบบน | CLAMP, GUY, TRIPPLE BOLT | 1020440102 | 1
12.2 | CTB ประกบบน | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 7
12.2 | CTB ประกบบน | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
12.2 | CTB ประกบบน | U-BOLT, M.8 | 1010230000 | 4
12.2 | CTB ประกบบน | BOLT, MACHINE M16 x 350mm. | 1010110205 | -2
12.2 | CTB ประกบบน | BOLT, MACHINE M16 x 400mm. | 1010110206 | 2
22 | CTB ประกบบน | AERIAL CABLE ON STEEL BRACKET,TANGENT 0-5 14M. | Set20506 | 1
22 | CTB ประกบบน | HDPE (M-TECH) | 1020440008 | 2
22 | CTB ประกบบน | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 6
22 | CTB ประกบบน | LINK, CABLE SPACER | 1020440103 | 1
22 | CTB ประกบบน | CLAMP, GUY, TRIPPLE BOLT | 1020440102 | 1
22 | CTB ประกบบน | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 7
22 | CTB ประกบบน | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | CTB ประกบบน | U-BOLT, M.8 | 1010230000 | 4
22 | CTB ประกบบน | BOLT, MACHINE M16 x 350mm. | 1010110205 | -2
22 | CTB ประกบบน | BOLT, MACHINE M16 x 600mm. | 1010110209 | 2
99 | CSC 1.5 m | AERIAL CABLE ON X-ARM-C 0-5 | Set20504 | 1
99 | CSC 1.5 m | HDPE (M-TECH) | 1020440008 | 1
99 | CSC 1.5 m | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
99 | CSC 1.5 m | BOLT, MACHINE M16 x 200mm. | 1010110202 | -1
99 | CSC 1.5 m | BOLT, MACHINE M16 x 400mm. | 1010110206 | 1
99 | CSC 1.5 m | BOLT, MACHINE M16 x 500mm. | 1010110208 | 1
99 | CSC 2.5 m | AERIAL CABLE ON X-ARM-C 0-5 | Set20504 | 1
99 | CSC 2.5 m | CROSSARM 100x100x1500 mm. | 1000110000 | -1
99 | CSC 2.5 m | CROSSARM 100x100x2500 mm. | 1000110001 | 1
99 | CSC 2.5 m | HDPE (M-TECH) | 1020440008 | 1
99 | CSC 2.5 m | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
99 | CSC 2.5 m | BOLT, MACHINE M16 x 200mm. | 1010110202 | -1
99 | CSC 2.5 m | BOLT, MACHINE M16 x 400mm. | 1010110206 | 1
99 | CSC 2.5 m | BOLT, MACHINE M16 x 500mm. | 1010110208 | 1
99 | CSC ปลายคอน SP | SET OF EQUIPMENT FOR CABLE SPACER INS. WITH X-ARM-C | Set20503 | 1
99 | CSC ปลายคอน SP | HDPE (M-TECH) | 1020440008 | 1
99 | CSC ปลายคอน SP | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
99 | CSC ปลายคอน DDE | SET OF EQUIPMENT FOR CABLE SPACER INS.WITH X-ARM-C,DDE | Set20513 | 1
99 | CSC ปลายคอน DDE | HDPE (M-TECH) | 1020440008 | 2
99 | CSC ปลายคอน DDE | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 6
99 | CSC กลางสแปน | HDPE (M-TECH) | 1020440008 | 1
99 | CSC กลางสแปน | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
99 | CSC กลางสแปน | TIE WIRE AL 4 mm. | 1020200002 | 0.015
99 | CSC กลางสแปน | Spacer Poly (ขนมเปียกปูน) | 1020440000 | 1
99 | CSC กลางสแปน | Spacer Porcelain (บวก) | 1020440001 | 1
99 | CSC SP.st.AL | STEEL 100 x 50 x 5mm., 2500mm. | 1010000106 | 1
99 | CSC SP.st.AL | BRACE ALLEY 50 x 50 x 6mm., 1000mm. | 1010200009 | 1
99 | CSC SP.st.AL | BOLT, MACHINE M16 x 200mm. | 1010110202 | 2
99 | CSC SP.st.AL | BOLT, MACHINE M16 x 400mm. | 1010110206 | 2
99 | CSC SP.st.AL | CLAMP, GUY, TRIPPLE BOLT | 1020440102 | 1
99 | CSC SP.st.AL | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 8
99 | CSC SP.st.AL | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 2
99 | CSC SP.st.AL | LINK, CABLE SPACER | 1020440103 | 1
99 | CSC SP.st.AL | HDPE (M-TECH) | 1020440008 | 1
99 | CSC SP.st.AL | ห่วงรัดสายเคเบิลอาศแบบยืดหยุ่น | 1020440119 | 3
12 | CCB บน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 12 M.,12.20 M. AND 14 M. POLE | Set20520 | 1
12.2 | CCB บน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 12 M.,12.20 M. AND 14 M. POLE | Set20520 | 1
14.3 | CCB บน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 14.3 M. | Set20521 | 1
14.3 | CCB บน | BOLT, MACHINE M16 x 350mm. | 1010110205 | 2
14.3 | CCB บน | BOLT, MACHINE M16 x 400mm. | 1010110206 | -2
22 | CCB บน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 14.3 M. | Set20521 | 1
22 | CCB บน | BOLT, MACHINE M16 x 400mm. | 1010110206 | -2
22 | CCB บน | BOLT, MACHINE M16 x 500mm. | 1010110208 | 2
12.2 | CCB ล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 12 M.,12.20 M. AND 14 M. POLE | Set20520 | 1
12.2 | CCB ล่าง | BOLT, MACHINE M16 x 350mm. | 1010110205 | -2
12.2 | CCB ล่าง | BOLT, MACHINE M16 x 400mm. | 1010110206 | 2
14.3 | CCB ล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 14.3 M. | Set20521 | 1
14.3 | CCB ล่าง | BOLT, MACHINE M16 x 400mm. | 1010110206 | -2
14.3 | CCB ล่าง | BOLT, MACHINE M16 x 450mm. | 1010110207 | 2
22 | CCB ล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 1 CIRCUIT, ON 14.3 M. | Set20521 | 1
22 | CCB ล่าง | BOLT, MACHINE M16 x 400mm. | 1010110206 | -2
22 | CCB ล่าง | BOLT, MACHINE M16 x 600mm. | 1010110209 | 2
12.2 | CCB ประกบบน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 12.20 M. | Set20522 | 1
14.3 | CCB ประกบบน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 14.3 M | Set20523 | 1
14.3 | CCB ประกบบน | BOLT, MACHINE M16 x 500mm. | 1010110208 | -2
14.3 | CCB ประกบบน | BOLT, MACHINE M16 x 450mm. | 1010110207 | 2
22 | CCB ประกบบน | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 14.3 M | Set20523 | 1
22 | CCB ประกบบน | BOLT, MACHINE M16 x 500mm. | 1010110208 | -2
22 | CCB ประกบบน | BOLT, MACHINE M16 x 600mm. | 1010110209 | 2
12.2 | CCB ประกบล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 12.20 M. | Set20522 | 1
12.2 | CCB ประกบล่าง | BOLT, MACHINE M16 x 450mm. | 1010110207 | -2
12.2 | CCB ประกบล่าง | BOLT, MACHINE M16 x 500mm. | 1010110208 | 2
14.3 | CCB ประกบล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 14.3 M | Set20523 | 1
22 | CCB ประกบล่าง | SAC ON STEEL BRACKET CORNER, 22 KV., 0-30 DEGREE, 2 CIRCUIT, ON 14.3 M | Set20523 | 1
22 | CCB ประกบล่าง | BOLT, MACHINE M16 x 500mm. | 1010110208 | -2
22 | CCB ประกบล่าง | BOLT, MACHINE M16 x 600mm. | 1010110209 | 2
99 | SP 1-P | X-ARM-C, 1-P, SP 0-5 * C | Set20101 | 1
12 | SP บน | X-ARM-C, 3-P, SP 0-5 | Set20201 | 1
14 | SP บน | X-ARM-C, 3-P, SP 0-5 | Set20201 | 1
12.2 | SP บน,ล่าง | X-ARM-C, 2-CCT ,1ST-CCT, SP 0-5 (14.30 m.) | Set21111 | 1
14.3 | SP บน,ล่าง | X-ARM-C, 2-CCT ,1ST-CCT, SP 0-5 (14.30 m.) | Set21111 | 1
22 | SP บน, ล่าง | X-ARM-C,SP (22.00 m pole) | Set21221 | 1
12.2 | 2SP บน,ล่าง | X-ARM-C, 2-CCT ,1ST-CCT, SP 0-5 (14.30 m.) | Set21111 | 1
12.2 | 2SP บน,ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
14.3 | 2SP บน,ล่าง | X-ARM-C, 2-CCT ,1ST-CCT, SP 0-5 (14.30 m.) | Set21111 | 1
14.3 | 2SP บน,ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
22 | 2SP บน, ล่าง | X-ARM-C,SP (22.00 m pole) | Set21221 | 1
22 | 2SP บน,ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
12.2 | SP.AL | A-ARM-C, 3-P, SP 0-5 | Set20231 | 1
14.3 | SP.AL | A-ARM-C, 3-P, SP 0-5 | Set20231 | 1
22 | SP.AL | A-ARM-C, 3-P, SP 0-5 | Set20231 | 1
12.2 | SP.st 2.5m บน | X-ARM-STEEL,SP | Set20221 | 1
14.3 | SP.st 2.5m บน | X-ARM-STEEL,SP | Set20221 | 1
12.2 | 2SP.st 2.5m บน | X-ARM-STEEL,SP | Set20221 | 1
12.2 | 2SP.st 2.5m บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
14.3 | 2SP.st 2.5m บน | X-ARM-STEEL,SP | Set20221 | 1
14.3 | 2SP.st 2.5m บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
22 | SP.st 2.5m บน | X-ARM-Steel,SP (22.00 m pole) | Set21321 | 1
22 | 2SP.st 2.5m บน | X-ARM-Steel,SP (22.00 m pole) | Set21321 | 1
22 | 2SP.st 2.5m บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
22 | SP.st 2.5m ล่าง | X-ARM-Steel,SP (22.00 m pole) | Set21321 | 1
22 | 2SP.st 2.5m ล่าง | X-ARM-Steel,SP (22.00 m pole) | Set21321 | 1
22 | 2SP.st 2.5m ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
12.2 | SP.st 2.5m ล่าง | X-ARM-STEEL, 2-CCT, 2ND-CCT,SP 0-5 | Set21251 | 1
12.2 | 2SP.st 2.5m ล่าง | X-ARM-STEEL, 2-CCT, 2ND-CCT,SP 0-5 | Set21251 | 1
12.2 | 2SP.st 2.5m ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 3
99 | 2SP.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2SP.st 4.5m | STEEL CHANNEL 150x75x6.5 mm. 4,500 mm. | 1010000302 | -1
99 | 2SP.st 4.5m | BRACE,ANGEL STEEL 50x50x6 mm. 1,800 mm. | 1010200007 | -1
99 | 2SP.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 2
99 | 2SP.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -8
99 | 2SP.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | -8
12.2 | DP บน | X-ARM-C, 3-P, DP 5-30 | Set20202 | 1
12.2 | DP ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,DP 5-30 | Set21202 | 1
12.2 | 2DP บน | X-ARM-C, 3-P, DP 5-30 | Set20202 | 1
12.2 | 2DP บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
12.2 | 2DP ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,DP 5-30 | Set21202 | 1
12.2 | 2DP ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
14.3 | DP บน | X-ARM-C, 3-P, DP 5-30 | Set20202 | 1
14.3 | DP ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,DP 5-30 | Set21202 | 1
14.3 | 2DP บน | X-ARM-C, 3-P, DP 5-30 | Set20202 | 1
14.3 | 2DP บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
14.3 | 2DP ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,DP 5-30 | Set21202 | 1
14.3 | 2DP ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
22 | DP บน | X-ARM-C,DP (22.00 m pole) | Set21222 | 1
22 | DP ล่าง | X-ARM-C,DP (22.00 m pole) | Set21222 | 1
22 | 2DP บน | X-ARM-C,DP (22.00 m pole) | Set21222 | 1
22 | 2DP บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
22 | 2DP ล่าง | X-ARM-C,DP (22.00 m pole) | Set21222 | 1
22 | 2DP ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 6
99 | 2DP.st 3m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2DP.st 3m | STEEL 150 x 75 x 6.5mm., 4500mm. | 1010000302 | -2
99 | 2DP.st 3m | STEEL 125 x 65 x 6.0mm., 3000mm. | 1010000201 | 2
99 | 2DP.st 3m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | 2DP.st 3m | DOUBLE ARMING M16 x 450 mm | 1010120001 | 6
99 | 2DP.st 3m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | 2DP.st 3m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | 2DP.st 3m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -8
12.2 | 2DP.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | 2DP.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | 2DP.st 4.5m | BOLT, MACHINE M16 x 250mm. | 1010110203 | 2
12.2 | 2DP.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -8
12.2 | 2DP.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 20
12.2 | 2DP.st 4.5m | DOUBLE ARMING M16 x 400 mm | 1010120000 | 4
12.2 | 2DP.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | 2DP.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | 2DP.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | 2DP.st 4.5m | BOLT, MACHINE M16 x 400mm. | 1010110206 | 2
22 | 2DP.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -8
22 | 2DP.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 20
22 | 2DP.st 4.5m | DOUBLE ARMING M16 x 450 mm | 1010120001 | 4
22 | 2DP.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | BA 1-P | X-ARM-C, 1-P, BA | Set20107 | 1
99 | BA 1-P | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
99 | BA 1-P | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | BA บน | X-ARM-C, 3-P, BA FOR AERIAL CABLE 22 kV | Set20214 | 1
12.2 | 2DP ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
14.3 | BA บน | X-ARM-C, 2-CCT ,1ST-CCT, BA (14.30 m.) | Set21117 | 1
14.3 | BA บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
14.3 | BA บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
14.3 | BA บน | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
12.2 | BA ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,BA | Set21207 | 1
12.2 | BA ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12.2 | BA ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | BA ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
14.3 | BA ล่าง | X-ARM-C, 2-CCT ,2ND-CCT, BA (14.30 m.) | Set21217 | 1
14.3 | BA ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
14.3 | BA ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
14.3 | BA ล่าง | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
22 | BA | X-ARM-C, 2-CCT ,1ST-CCT, BA (14.30 m.) | Set21117 | 1
22 | BA | BOLT, MACHINE M16 x 300mm. | 1010110204 | -1
22 | BA | BOLT, MACHINE M16 x 400mm. | 1010110206 | 1
22 | BA | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
22 | BA | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
22 | BA | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
99 | 2BA.st 4.5 m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2BA.st 4.5 m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | 2BA.st 4.5 m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | 2BA.st 4.5 m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | 2BA.st 4.5 m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
99 | BA.AL 1P | A-ARM-C, 1-P, BA | Set20135 | 1
12.2 | BA.AL | A-ARM-C, 3-P, BA | Set20235 | 1
12.2 | BA.AL | BOLT, MACHINE M16 x 130mm. | 1010110200 | 1
12.2 | BA.AL | BOLT, MACHINE M16 x 200mm. | 1010110202 | -1
12.2 | BA.AL | BOLT, MACHINE M16 x 250mm | 1010110203 | 1
14.3 | BA.AL | A-ARM-C, 3-P, BA | Set20235 | 1
14.3 | BA.AL | BOLT, MACHINE M16 x 130mm. | 1010110200 | 1
14.3 | BA.AL | BOLT, MACHINE M16 x 200mm. | 1010110202 | -1
14.3 | BA.AL | BOLT, MACHINE M16 x 300mm. | 1010110204 | 1
14.3 | BA.AL | BOLT, MACHINE M16 x 450mm. | 1010110207 | -3
14.3 | BA.AL | BOLT, MACHINE M16 x 500mm. | 1010110208 | 3
14.3 | BA.AL | DOUBLE ARMING M16 x 450mm. | 1010130001 | -3
14.3 | BA.AL | DOUBLE ARMING M16 x 500mm. | 1010130002 | 3
22 | BA.AL | A-ARM-C, 3-P, BA | Set20235 | 1
22 | BA.AL | BOLT, MACHINE M16 x 130mm. | 1010110200 | 1
22 | BA.AL | BOLT, MACHINE M16 x 200mm. | 1010110202 | -1
22 | BA.AL | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | BA.AL | DOUBLE ARMING M16 x 450mm. | 1010130001 | -3
22 | BA.AL | DOUBLE ARMING M16 x 600mm. | 1010130003 | 3
99 | BA.AL st.2.5 m | BA.AL | Set20255 | 1
99 | BA.AL st.2.5 m | INSULATOR,LINE-POST TYPE, 22 kV.CLASS 57-2L POWER ARC TEST | 1030010002 | 2
99 | DDE 1-P | X-ARM-C, 1-P, DDE | Set20103 | 1
99 | DDE.BL 1-P | X-ARM-C, 1-P, FOR CUTOUT ON BREAK LINE | Set20104 | 1
12 | DDE บน | X-ARM-C, 3-P, DDE | Set20203 | 1
12 | DDE บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12 | DDE บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | DDE บน | X-ARM-C, 3-P, 1 CIRCUIT, DDE FOR SAC (12.20 M.) (ON INSULATORS) (ASSEMBLY NO.2319) | Set20239 | 1
14.3 | DDE บน | X-ARM-C, 3-P, 1 CIRCUIT, DDE FOR SAC (14.30M.) (ON INSULATORS) (ASSEMBLY NO.2319) | Set20242 | 1
22 | DDE บน | X-ARM-C, 3-P, 1 CIRCUIT, DDE FOR A,PIC,SAC (22 M.) (ON INSULATORS) (ASSEMBLY NO.9170) | Set20245 | 1
12.2 | DDE ล่าง | X-ARM-C, 2 CIRCUIT, 2ND(SECOND) CIRCUIT, DDE OF SAC (12.20 M.) (ASSEMBLY NO. 2319) | Set20241 | 1
14.3 | DDE ล่าง | X-ARM-C, 2 CIRCUIT, 2ND(SECOND) CIRCUIT, DDE OF SAC (14.30 M.) (ASSEMBLY NO. 2319) | Set20243 | 1
22 | DDE ล่าง | X-ARM-C,DDE(22.00 m pole) | Set21223 | 1
22 | DDE ล่าง | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
12.2 | DDE.BL บน | X-ARM-C, 3-P, BREAK LINE | Set20204 | 1
12.2 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12.2 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | DDE.BL บน | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
12.2 | DDE.BL บน | DOUBLE ARMING M16 x 450mm. | 1010130001 | -3
12.2 | DDE.BL บน | DOUBLE ARMING M16 x 550mm. | 1010130004 | 3
14.3 | DDE.BL บน | X-ARM-C, 3-P, BREAK LINE | Set20204 | 1
14.3 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
14.3 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
14.3 | DDE.BL บน | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
14.3 | DDE.BL บน | DOUBLE ARMING M16 x 450mm. | 1010130001 | -3
14.3 | DDE.BL บน | DOUBLE ARMING M16 x 550mm. | 1010130004 | 3
22 | DDE.BL บน | X-ARM-C, 3-P, BREAK LINE | Set20204 | 1
22 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
22 | DDE.BL บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
22 | DDE.BL บน | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
22 | DDE.BL บน | DOUBLE ARMING M16 x 450mm. | 1010130001 | -3
22 | DDE.BL บน | DOUBLE ARMING M16 x 600mm. | 1010130003 | 3
12.2 | DDE.BL ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,BREAK LINE | Set21204 | 1
12.2 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12.2 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | DDE.BL ล่าง | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
12.2 | DDE.BL ล่าง | DOUBLE ARMING M16 x 500mm. | 1010130002 | -3
12.2 | DDE.BL ล่าง | DOUBLE ARMING M16 x 600mm. | 1010130003 | 3
14.3 | DDE.BL ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,BREAK LINE | Set21204 | 1
14.3 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
14.3 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
14.3 | DDE.BL ล่าง | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
14.3 | DDE.BL ล่าง | DOUBLE ARMING M16 x 500mm. | 1010130002 | -3
14.3 | DDE.BL ล่าง | DOUBLE ARMING M16 x 600mm. | 1010130003 | 3
22 | DDE.BL ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,BREAK LINE | Set21204 | 1
22 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
22 | DDE.BL ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
22 | DDE.BL ล่าง | BOLT, MACHINE M16 x 170mm. | 1010110201 | 2
22 | DDE.BL ล่าง | DOUBLE ARMING M16 x 500mm. | 1010130002 | -3
22 | DDE.BL ล่าง | DOUBLE ARMING M16 x 600mm. | 1010130003 | 3
99 | DDE.st 2.5m | X-ARM-STEEL,DDE | Set20223 | 1
99 | DDE.BL.st 2.5m | X-ARM-STEEL,DDE | Set20223 | 1
99 | DDE.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | DDE.st 4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 1
99 | 2DE.st4.5 + DE.CON | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2DE.st4.5 + DE.CON | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 1
99 | DDE.AL | A-ARM-C, 3-P, DDE | Set20237 | 1
99 | DE.AL | A-ARM-C, 3-P, DE | Set20234 | 1
99 | DDE,DP.st 3.0m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | DDE,DP.st 3.0m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 1
99 | DDE,DP.st 3.0m | STEEL 150 x 75 x 6.5mm., 4500mm. | 1010000302 | -2
99 | DDE,DP.st 3.0m | STEEL 125 x 65 x 6.0mm., 3000mm. | 1010000201 | 2
99 | DDE,DP.st 3.0m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | DDE,DP.st 3.0m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | DDE,DP.st 3.0m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | 2DDE.st 3.0m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2DDE.st 3.0m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
99 | 2DDE.st 3.0m | STEEL 150 x 75 x 6.5mm., 4500mm. | 1010000302 | -2
99 | 2DDE.st 3.0m | STEEL 125 x 65 x 6.0mm., 3000mm. | 1010000201 | 2
99 | 2DDE.st 3.0m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | 2DDE.st 3.0m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
99 | 2DDE.st 3.0m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | BA.st 2.5m | X-ARM-Steel,BA (22.00 m pole) | Set21327 | 1
99 | BA.SLK บน | X-ARM-C, 3-P, BA (SLK. SPN.) | Set20209 | 1
99 | LAT.SLK บน | X-ARM-C, 3-P, 1ST-POLE LAT-SLK SPN | Set20205 | 1
99 | LAT.SLK ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,1ST-POLE LAT-SLK SPN | Set21205 | 1
99 | 2BA.st 4.5m+DE.CON | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2BA.st 4.5m+DE.CON | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 1
99 | 2BA.st 4.5m+DE.CON | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | 2BA.st 4.5m+DE.CON | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | 2BA.st 4.5m+DE.CON | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | 2BA.st 4.5m+DE.CON | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
99 | DDE.st 3m, LAT.SLK | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | DDE.st 3m, LAT.SLK | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 1
99 | DDE.st 3m, LAT.SLK | STEEL 150 x 75 x 6.5mm., 4500mm. | 1010000302 | -2
99 | DDE.st 3m, LAT.SLK | STEEL 125 x 65 x 6.0mm., 3000mm. | 1010000201 | 2
99 | DDE.st 3m, LAT.SLK | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | DDE.st 3m, LAT.SLK | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | DDE.st 3m, LAT.SLK | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | DDE.st 3m, LAT.SLK | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | 2DDE.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | 2DDE.st 4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12.2 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | 2DDE.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | 2DDE.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
12.2 | 2DDE.st 4.5m | NUT, EYE M16 | 1010180001 | 6
12.2 | 2DDE.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | 2DDE.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | 2DDE.st 4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
22 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
22 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | 2DDE.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
22 | 2DDE.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
22 | 2DDE.st 4.5m | NUT, EYE M16 | 1010180001 | 6
22 | 2DDE.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | DDE.BL.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | DDE.BL.st 4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
99 | DDE.BL.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | DDE.BL.st 4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
99 | DDE.BL.st 4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
99 | DDE.BL.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
99 | DDE.BL.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
99 | DDE.BL.st 4.5m | NUT, EYE M16 | 1010180001 | 6
99 | DDE.BL.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
99 | 2DE.st4.5 | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
99 | 2DE.st4.5 | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
99 | DE.CON 1-P | X-ARM-C, 1-P, DEAD END CONNECTION | Set20111 | 1
99 | DE.CON 1-P | X-ARM-C, 1-P, DE | Set20106 | 1
99 | DE.CON 1-P | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
99 | DE.CON 1-P | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
99 | DE.CON 1-P | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12 | DE | X-ARM-C, 3-P, DE | Set20206 | 1
12 | DE | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12 | DE | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
12.2 | DE บน | X-ARM-C, 3-P, DE FOR AERIAL CABLE 22 kV | Set20213 | 1
14.3 | DE บน | X-ARM-C, 2-CCT ,1ST-CCT, DE (14.30 m.) | Set21116 | 1
14.3 | DE บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
14.3 | DE บน | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
22 | DE บน | X-ARM-C,DE (22.00 m pole) | Set21226 | 1
12.2 | DE ล่าง | X-ARM-C, 2-CCT, 2ND-CCT,DE | Set21206 | 1
12.2 | DE ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,500 | 1000110004 | 2
12.2 | DE ล่าง | CROSSARM,PRESTRESSED CONCRETE,SPUN(FOR DEAD-ENDING) 120X120X2,000 | 1000110003 | -2
14.3 | DE ล่าง | X-ARM-C, 2-CCT ,2ND-CCT, DE (14.30 m.) | Set21216 | 1
99 | DE.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | 2DDE.st 4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | 2DDE.st 4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
14.3 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
14.3 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
14.3 | 2DDE.st 4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
14.3 | 2DDE.st 4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
14.3 | 2DDE.st 4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
14.3 | 2DDE.st 4.5m | NUT, EYE M16 | 1010180001 | 6
14.3 | 2DDE.st 4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
OHGW | เหล็ก SP OHGW (12.00m) | OVERHEAD GROUND WIRE, 0-5 DEGREE, ON 12 M. POLE (ASSEMBLY NO.2425) | Set25263 | 1
OHGW | เหล็ก SP OHGW (14.30m) | OVERHEAD GROUND WIRE, 0-5 DEGREE, ON 14.3 M. POLE (ASSEMBLY NO.2425) | Set25264 | 1
OHGW | เหล็ก DDE OHGW | OVERHEAD GROUND WIRE DDE. II (12,14,16 M.) | Set25258 | 1
OHGW | เหล็ก DE OHGW | OVERHEAD GROUND WIRE DE. II (12,14,16 M.) | Set25256 | 1
OHGW | เหล็ก DP OHGW (12.20m) | OVERHEAD GROUND WIRE, 5-30 DEGREE, ON 12.20 M. AND 14 M. POLE (ASSEMBLY NO.2425) | Set25262 | 1
OHGW | เหล็ก DP OHGW (14.30m) | OVERHEAD GROUND WIRE, 5-30 DEGREE, ON 14.3 M. POLE (ASSEMBLY NO.2425) | Set25266 | 1
OHGW | เหล็ก BA OHGW | OVERHEAD GROUND WIRE BA. II (14,16 M.) | Set25261 | 1
Guy | GY-22 (12.20m) | DEADEND GUY, GY-22, SIZE 95 SQ.MM., ON 12.2 M. POLE (ASSEMBLY NO. 8452, 8408, 8409) | Set23007 | 1
Guy | GY-22 (14.30m) | DEADEND GUY AND SIDE GUY, GY-22, SIZE 95 SQ.MM., ON 14.3 M. POLE (ASSEMBLY NO. 8452, 8408, 8409) | Set23008 | 1
Stub guy | STUB GUY (4.5) | DEADEND GUY AND SIDE GUY, GY-22, SIZE 95 SQ.MM., ON 14.3 M. POLE (ASSEMBLY NO. 8452, 8408, 8409) | Set23008 | 1
Stub guy | STUB GUY (4.5) | ตอม่อ 0.36x0.36x4.5m | 1000020400 | 1
Stub guy | STUB GUY (4.5) | ANCHOR, PLATE 600x600x180 mm | 1000040003 | 1
Stub guy | STUB GUY (4.5) | ROD, ANCHOR M.16, 2000 mm | 1010210000 | 1
Stub guy | STUB GUY (4.5) | DOUBLE ARMING M16 x 400mm. | 1010130000 | 1
Stub guy | STUB GUY (6.5) | DEADEND GUY AND SIDE GUY, GY-22, SIZE 95 SQ.MM., ON 14.3 M. POLE (ASSEMBLY NO. 8452, 8408, 8409) | Set23008 | 1
Stub guy | STUB GUY (6.5) | ตอม่อ 0.36x0.36x6.5m | 1000020402 | 1
Stub guy | STUB GUY (6.5) | ANCHOR, PLATE 600x600x180 mm | 1000040003 | 1
Stub guy | STUB GUY (6.5) | ROD, ANCHOR M.16, 2000 mm | 1010210000 | 1
Stub guy | STUB GUY (6.5) | DOUBLE ARMING M16 x 400mm. | 1010130000 | 1
Stub guy | STUB GUY (5.5) | DEADEND GUY AND SIDE GUY, GY-22, SIZE 95 SQ.MM., ON 14.3 M. POLE (ASSEMBLY NO. 8452, 8408, 8409) | Set23008 | 1
Stub guy | STUB GUY (5.5) | ตอม่อ 0.41x0.41x5.5m | 1000020500 | 1
Stub guy | STUB GUY (5.5) | ANCHOR, PLATE 600x600x180 mm | 1000040003 | 1
Stub guy | STUB GUY (5.5) | ROD, ANCHOR M.16, 2000 mm | 1010210000 | 1
Stub guy | STUB GUY (5.5) | DOUBLE ARMING M16 x 400mm. | 1010130000 | 1
Pole guy | Pole guy (9) | POLE,CONCRETE, 9 M.LONG | 1000010002 | 1
Pole guy | Pole guy (9) | ANCHOR GUY, GY-01, 95 SQ.MM. INSTALL WITH RACK | Set13002 | 1
Pole guy | Pole guy (9) | GY-24,DE SIZE 95 SQ.MM. | Set23020 | 1
Pole guy | Pole guy (9) | GY-25,DE SIZE 95 SQ.MM. | Set23022 | 1
Pole guy | Pole guy (9) | CONCRETE STUB, 1X(.25X.25X3.50 M.) | Set14301 | 1
Pole guy | Pole guy (9) | ANCHOR, PLATE 600x600x180 mm | 1000040003 | 1
Pole guy | Pole guy (9) | ANCHOR, PLATE 550x550x150 mm | 1000040001 | -1
Dis & SF6 | Dis | SWITCH,DISCONNECTING,SINGLE POLE 22 KV. 600 A.DISTRIBUTION CLASS | 1040050000 | 3
Dis & SF6 | Dis | X-ARM-C, FOR ISO, SWITCH ON BREAK LINE POLE | Set24001 | 1
Dis & SF6 | Dis | CABLE LUG,NEMA HOLE,COMPRESSION TYPE,AL 185 SQ.MM. | 1020420106 | 6
Dis & SF6 | Dis | ANIMAL BARRIER SET | 1040010015 | 6
Dis & SF6 | Dis | WIRE,STEEL STRANDED 25 sq.mm.TIS.404 | 1010100002 | 6
Dis & SF6 | Dis | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 4
Dis & SF6 | Dis | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 12
Dis & SF6 | SF6 | SWITCH,SF6,LOAD BREAK,22KV 600 A,INSTALLATION ON 12m. CONCRETE POLE(ASSEMBLY NO.2434) | set24009 | 1
Dis & SF6 | SF6 | TRANSFORMER,VOLTAGE,3 PHASE OUTDOOR RATIO22,000/110 V. 10 VA.-220 V. 500 VA. | 1060020050 | -1
Dis & SF6 | SF6 | VT.3P.O/D 22,000/110-220 V.RCS 500 VA. | 1040073011 | 1
Surge & Fuse | Drop-out Fuse | CUT-OUT,FUSE,OPEN TYPE,SINGLE INSULATOR,DROPOUT 22 KV. 100 A. 12 kA. ASYM | 1040010002 | 3
Surge & Fuse | Drop-out Fuse | X-ARM-C, FOR CUT OUT ON BREAK LINE POLE | Set24002 | 1
Surge & Fuse | Drop-out Fuse | FUSE LINK 22 kV. 3 A.EEI-NEMA TYPE K OR HIGH SURGE TYPE | 1040030002 | 3
Surge & Fuse | Drop-out Fuse | INSULATOR,POST, 7.5 KV.,ANSI TR-202 | 1030010200 | 3
Surge & Fuse | Drop-out Fuse | ANIMAL BARRIER | 1040010015 | 3
Surge & Fuse | Drop-out Fuse | CUTOUT BRACKET | 1040010016 | 3
Surge & Fuse | Drop-out Fuse | WIRE,STEEL STRANDED 25 sq.mm.TIS.404 | 1010100002 | 3
Surge & Fuse | Drop-out Fuse | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 4
Surge & Fuse | Drop-out Fuse | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 3
Surge & Fuse | LA 20-21kV 5kA | LIGHTNING ARRESTER 20-21 kV. 5 kA. | 1040000000 | 3
Surge & Fuse | LA 20-21kV 5kA | HV.GROUNDING GR-1 (ASSEMBLY NO.9706, 9701B) | Set20515 | 1
Surge & Fuse | LA 20-21kV 5kA | CABLE LUG,NEMA HOLE,COMPRESSION TYPE,AL 50 SQ.MM. | 1020420102 | 3
Surge & Fuse | LA 20-21kV 5kA | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 3
Surge & Fuse | LA 20-21kV 5kA | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 3
Surge & Fuse | LA 20-21kV 10kA | LIGHTNING ARRESTER,20-21 KV.10 KA. | 1040000001 | 3
Surge & Fuse | LA 20-21kV 10kA | HV.GROUNDING GR-1 (ASSEMBLY NO.9706, 9701B) | Set20515 | 1
Surge & Fuse | LA 20-21kV 10kA | CABLE LUG,NEMA HOLE,COMPRESSION TYPE,AL 50 SQ.MM. | 1020420102 | 3
Surge & Fuse | LA 20-21kV 10kA | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 3
Surge & Fuse | LA 20-21kV 10kA | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 3
Surge & Fuse | LA 24-26kV 5kA | LIGHTNING ARRESTER 20-21 kV. 5 kA. | 1040000002 | 3
Surge & Fuse | LA 24-26kV 5kA | HV.GROUNDING GR-1 (ASSEMBLY NO.9706, 9701B) | Set20515 | 1
Surge & Fuse | LA 24-26kV 5kA | CABLE LUG,NEMA HOLE,COMPRESSION TYPE,AL 50 SQ.MM. | 1020420102 | 3
Surge & Fuse | LA 24-26kV 5kA | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 3
Surge & Fuse | LA 24-26kV 5kA | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 3
Surge & Fuse | LA 24-26kV 10kA | LIGHTNING ARRESTER,20-21 KV.10 KA. | 1040000003 | 3
Surge & Fuse | LA 24-26kV 10kA | HV.GROUNDING GR-1 (ASSEMBLY NO.9706, 9701B) | Set20515 | 1
Surge & Fuse | LA 24-26kV 10kA | CABLE LUG,NEMA HOLE,COMPRESSION TYPE,AL 50 SQ.MM. | 1020420102 | 3
Surge & Fuse | LA 24-26kV 10kA | CLAMP, DOUBLE BOLTS, ST. WIRE 25 SQ.MM. | 1010230012 | 3
Surge & Fuse | LA 24-26kV 10kA | CONNECTOR,PARALLEL GROOVE,TRIPLE BOLT,AL,AL-ALLOY AND ACSR 70-185 SQ.MM. | 1020300103 | 3
12.2 | BA.st4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | BA.st4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12.2 | BA.st4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | BA.st4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | BA.st4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
12.2 | BA.st4.5m | NUT, EYE M16 | 1010180001 | 6
12.2 | BA.st4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | BA.st4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | BA.st4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
22 | BA.st4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | BA.st4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
22 | BA.st4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | BA.st4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
22 | BA.st4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
22 | BA.st4.5m | NUT, EYE M16 | 1010180001 | 6
22 | BA.st4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
14.3 | BA.st4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | BA.st4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
14.3 | BA.st4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
14.3 | BA.st4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
14.3 | BA.st4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
14.3 | BA.st4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
14.3 | BA.st4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
14.3 | BA.st4.5m | NUT, EYE M16 | 1010180001 | 6
14.3 | BA.st4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
12.2 | 2BA st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | 2BA st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12.2 | 2BA st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | 2BA st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | 2BA st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
12.2 | 2BA st.4.5m | NUT, EYE M16 | 1010180001 | 6
12.2 | 2BA st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | 2BA st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | 2BA st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
22 | 2BA st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | 2BA st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
22 | 2BA st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | 2BA st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
22 | 2BA st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
22 | 2BA st.4.5m | NUT, EYE M16 | 1010180001 | 6
22 | 2BA st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
14.3 | 2BA st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | 2BA st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
14.3 | 2BA st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
14.3 | 2BA st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
14.3 | 2BA st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
14.3 | 2BA st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
14.3 | 2BA st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
14.3 | 2BA st.4.5m | NUT, EYE M16 | 1010180001 | 6
14.3 | 2BA st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
12.2 | SP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | SP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12.2 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | SP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | SP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
12.2 | SP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
12.2 | SP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | SP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | SP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
22 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
22 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | SP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
22 | SP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
22 | SP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
22 | SP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
14.3 | SP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | SP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
14.3 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
14.3 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
14.3 | SP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
14.3 | SP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
14.3 | SP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
14.3 | SP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
14.3 | SP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
12.2 | DP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
12.2 | DP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
12.2 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
12.2 | DP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
12.2 | DP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
12.2 | DP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
12.2 | DP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
22 | DP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
22 | DP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
22 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
22 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
22 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
22 | DP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
22 | DP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
22 | DP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
22 | DP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1
14.3 | DP,DDE.BL st.4.5m | X-ARM-Steel,DE Double cct (22.00 m pole) | Set21326 | 1
14.3 | DP,DDE.BL st.4.5m | X-ARM-C, 3-P, DEAD END CONNECTION | Set20211 | 2
14.3 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 200mm. | 1010110202 | 4
14.3 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 450mm. | 1010110207 | -1
14.3 | DP,DDE.BL st.4.5m | BOLT, MACHINE M16 x 600mm. | 1010110209 | 1
14.3 | DP,DDE.BL st.4.5m | DOUBLE ARMING ROUND EYE M16 x 450 mm | 1010130001 | -2
14.3 | DP,DDE.BL st.4.5m | WASHER, SQUARE 52 x 52 x 4.5mm. | 1010180100 | 12
14.3 | DP,DDE.BL st.4.5m | NUT, EYE M16 | 1010180001 | 6
14.3 | DP,DDE.BL st.4.5m | WASHER, LOCK, SPRING, SIZE 16 mm. | 1010180301 | 1